ROOF INSPECTION                      			  B – 3

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | HIGH RISK JHA Required Qualified Person |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Inspect general condition of roof coverings, fixings and support structures. Check for the following:

- Signs of rust, treat as necessary

- Ensure bolts, screws and hardware are properly secured

- Check condition of paint finish and touch up if required

- Check waterproofing of penetrations and joints. Treat or repair as required

- Ensure any roof ventilation vents are clear and unobstructed

- Ensure valleys and roof drainage passages are clean and unobstructed

- Confirm that roof anchors are certified by licensed person

Metal Roof Covering

- Check for signs of lifting or movement

- Check condition of flashing and ensure installation is waterproof

Tile Roof Covering

- Inspect general condition of tiles. Re secure loose tiles or replace broken tiles as necessary

- Inspect general condition of ridge capping and pointing. Repair any damage as necessary

Surface Clean

- Clean roof surface to remove debris or corrosive deposits by hosing down or blowing free

- Check overall condition of roof structure, roof covering and paint condition

Needed Repairs or Additional Comments