ENTRY & EXIT MATS		                            B – 6

INSPECTION: 6 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

floor mats

- Check condition of all mats

- Inspect for frayed or curling edging, replace if beyond repair

- Thoroughly clean all mat surfaces and any associated tracks or securing points (If applicable)

- Ensure only secured mats are positioned in front of emergency exits

TACTILE INDICATORS

- Inspect condition of tactile indicators, ensure each are securely fixed

- Replace damaged or worn indicators

Needed Repairs or Additional Comments