GREEN AREAS		    	            	      		        C – 2

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform the following to identify and prevent maintenance issues:

- Trim back vegetation near buildings that may transfer dampness

- Inspect for dampness/rot causing damage to paths, walls or building foundations

- Check property for signs of soil erosion

Needed Repairs or Additional Comments