FENCES & LANDSCAPE STRUCTURES	    	  C – 4

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform the following to identify and prevent maintenance issues:

RETAINING WALLS - TIMBER SLEEPER/BRICK/BLOCK/STONE

- Check retaining walls for signs of bulging, loosening or rotting of structural members

- Check wall for bulges, loose bricks/stones and rot to timber sleepers

- Check drainage facilities are working properly

- Check that wall is straight and upright

- Ensure top of wall is adequately water sealed

FENCES

- Inspect fencing for signs of rust, damage or deterioration

- Check that fence is straight and upright

- Check for soil erosion and refill holes if the soil is washed away from under fence

- Clear vegetation or trees growing against or through fencing

Needed Repairs or Additional Comments