SWITCHES, POWER POINTS & RCD’S          EL – 4

INSPECTION & SERVICE: 6 MONTHS

| NOTE: |  |
| --- | --- |
|  | HIGH RISK JHA Required Qualified Person |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

SWITCHES

- Check to ensure they are safe and operating correctly

- Test load for operation; listen for unusual noises

POWER POINTS

- Check all power points for safe and correct operation

- Check for damaged or loose fitted power points. Replace or secure as required

RESIDUAL CURRENT DEVICES (RCD’s)

- Push test button on each fixed RCD (Switchboard) and portable RCD while under load

- Every 2 years verify trip time of RCD’s is within tolerance

Needed Repairs or Additional Comments