SUPPLY/RETURN AIR GRILLES			     M – 12

INSPECTION & SERVICE: 6 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Inspect and clean all louvres and diffusers located in suspended ceilings and walls.

- Vacuum or dust debris on or inside grille or outlet

- Wipe remaining dirt from the grille using a damp cloth

- Include all louvres/diffusers in the suspended ceiling, walls and those part of ventilation systems

- Vacuum area on floor when finished

Needed Repairs or Additional Comments