REVERSE CYCLE – WASHABLE FILTERS        M – 3

INSPECTION & SERVICE: 2 MONTHS

| NOTE: |  |
| --- | --- |
|  | JHA Required Manual (M-1) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

INDOOR UNIT DUCTED SPLIT SYSTEM

Each system should consist of outside (fresh) & return air filters. Some systems will have re-useable filters while others with have disposable filters.

- Washable Filters - Wash filters gently with mild detergents and water. Filters must be left to dry completely before being placed back into the HVAC system

Needed Repairs or Additional Comments