WINDOWS & COVERINGS	                          B – 10

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

WINDOWS

- Check for signs of rust or damage to hardware

- Check that windows operate properly

- Check condition of glass

- Check the condition of the rubber seals.  Replace if necessary

- Check condition of the caulking both inside and out

- Make sure the drain holes are clear

- Check that the latch and locking handle mechanisms operate smoothly

- Check condition and operation of sliding window rollers

- Clean window openings/tracks

BLINDS

- Check for operation, including sliding and tilting mechanisms

- Ensure cords are appropriately secured to prevent potential hazards

CURTAINS

- Check for operation, including sliding mechanisms

- Ensure cords are appropriately secured to prevent potential hazards

- Inspect material for mould or dirt. Clean as required

Needed Repairs or Additional Comments