PEST CONTROL		                                B – 15

INSPECTION & SERVICE: 3 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

- Inspect the building internally at all entrances for vermin

- Inspect all garbage collections rooms and rubbish bins, sweeping as needed

- Inspect all building’s interior and exterior for bird or wasp nests

- Inspect underside of exterior lights and eaves of building

- If vermin droppings are found, dispose of and clean area with a suitable disinfectant (ensure bleach solution will not damage any sensitive surfaces prior to using)

- Inspect the external part of the building along brickwork and slab for termite trails

- Inspect bushes, tree and timber structures around the property for signs of termites

Needed Repairs or Additional Comments