BUILDING INTERIOR                                       B – 2

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

WALLS

- Check painted and vinyl wall coverings for lifting, water or other damage

CEILING

- Check plasterboard and solid ceilings for damage and stains that may indicate a water problem

- Check suspended ceiling for damaged, wet or dirty tiles

- Check the condition of the edge trim and support rails

- Check that light fittings are securely and neatly attached to the ceiling

CABINETS AND FITTINGS

- Ensure doors and drawers operate freely

- Check hinges and hardware for tightness, loose screws etc.

- Check door and drawer alignment with cabinetry. Ensure are level and parallel

- Check straightness and firmness of mounted items/hardware such as shelves

PARTITIONS

- Check condition of panels

- Note wear in Melamine finishes, attachments to floor, walls and ceiling

- Check operation of all latches and hinges

Needed Repairs or Additional Comments