DOORS – INTERIOR & EXTERIOR			B – 5

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | Manual (B-2) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Inspect condition and function of all exterior and interior doors and associated hardware

Door Hardware

- Verify operation of hinges, locks and door sets. Lubricate as necessary

- Check screws and fixings are firm and secure (do not overtighten)

- Ensure doors latch correctly

- Check any closers, adjust as needed to ensure door fully self-closes

- Inspect for leakage around seals of door closers, lubricate as required

Door & Frame

- Check overall condition of door finish, touch up paint if required

- Check for gaps, cracks or swelling around frame

- Check condition of weather seals and strips on doors and frames (if fitted)

- Inspect any kick plates and vents for damage

- Inspect condition of caulking around door frames

- Check for delamination at bottom of door

Needed Repairs or Additional Comments