STORM WATER SYSTEM                             	  C – 1

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | Manual (C-1) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

drains & catchments

- Inspect grate covers for rust and integrity. Repair damage or treat rust as necessary

- Clean dirt, debris and sediment from catchment basin

- Ensure storm water pipes are clear of blockages

- Clear vegetation away from storm water channels and outlets

STORM WATER SYSTEM

- Ensure sufficient run-off is taking place in all green areas

- Remove or reduce silt and vegetation preventing water flowing to drainage areas

- Clear any obstructions on paved areas preventing water flow

- Flush gutter system with water and check for adequate flow through to storm water

Needed Repairs or Additional Comments