ASPHALT CARPARK & PATHS       			  C – 7

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

ASPHALT CARPARK

- Inspect areas for signs of damage or disrepair

- Inspect for trip hazards

- Remove vegetation growing through joints and cracks

- Fill any significant cracks with sealant

- Check for subsidence (sagging/settling of surface) in the asphalted areas and investigate

- Check for erosion of the granular base material (undercutting) and repair as necessary

- Check condition of kerbing and road verges

- Check that all road drains and gutters are functioning

- Ensure drainage channels are not blocked

- Re-paint parking lot lines as required

CONCRETE PATHS

- Check for subsidence (sagging/settling of surface) in the asphalted areas and investigate

- Check for erosion of the granular base material (undercutting) and repair as necessary

Needed Repairs or Additional Comments