SMOKE DETECTORS     						EL – 5

INSPECTION: 6 MONTHS

| NOTE: |  |
| --- | --- |
|  | JHA Required Qualified Person |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform the following general operational checks on each smoke or carbon monoxide detector fitted. Test and service according to manufacturer’s instruction manual.

- Manually operate each detector to test alarm operation on mains supply

- Isolate mains supply and test alarm operation off battery supply

- Dust and clean according to manufacturer’s instructions

- Ensure detectors have not been painted over

- Check service life date not exceeded. Replace as required

- If smoke detection used to operate other elements, test operation (Example - Automatic ventilation system shut down)

- Replace batteries every 12 months

Needed Repairs or Additional Comments