TEST & TAG                                                   EL – 9

SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | Qualified Person |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Arrange for the testing and tagging of all extension cords, power boards, electrical appliances and equipment kept at the facility. Include any equipment stored in garden or storage sheds.

- Maintain and update equipment register

- Record results in test and tag logbook

- Test all equipment within required test frequency

Needed Repairs or Additional Comments