FIRST AID EQUIPMENT					       E – 12

INSPECTION & SERVICE: 3 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

FIRST AID KIT

- Complete manufacturer’s checklist and complete maintenance log for corresponding month

- Restock any used or expired materials from kit

- Ensure kit is readily accessible and all required items are stocked and listed

AUTOMATED EXTERNAL DEFIBRILLATOR

- Use manufacturer’s log located in the Maintenance filing cabinet

- Fill out checklist for corresponding month and return to filing cabinet

- Power on device and check battery level. If low or shows fault, consult manufacturers manual

- Ensure that adult and infant pads are in the case

- Consult manufacture’s information to determine when to replace battery and pads (typically, batteries are replaced every 2 years and pads after each use, or every 2 years)

Needed Repairs or Additional Comments