APPLIANCES                                    			  E – 2

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform maintenance on equipment according to manufacturer’s manual. Check the following general items during service:

MICROWAVE

- Inspect condition of supply cable

- Check door and glass for damage

- Check switches for correct operation

- Clean internally and externally

- Clean underneath and around appliance

REFRIGERATOR

- Defrost the refrigerator (if applicable)

- Inspect and clean drip tray

- Clean external and internal surfaces with water and a neutral soap or detergent

- Clean underneath and around appliance

- Use a vacuum cleaner to clean the compressor and the finned condenser

- Clean the ice/water dispenser area (if applicable)

PORTABLE HEATER

- Inspect the condition of the electrical cable

- Check switches for operation

- Clean and ensure it is dust free

Needed Repairs or Additional Comments