LADDERS & TOOLS	     				        E – 4

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

LADDERS

Inspect ladders for broken rungs, loose hinges, bent braces or other defects

Remove defective ladders from service

Check that the feet are in good condition

Check that all attachments are in good condition

Check that the ladders are sturdy and stable when setup for use

Clean the ladder

Check brackets for storage are secure

HAND TOOLS

Check for any obvious sign of damage or if the tool is worn to the point of being dangerous. Repair or replace as needed

ELECTRIC TOOLS

- Inspect the tool casing and guards for any damage and that screws or bolts are tight

- Examine power tools for damaged parts and frayed/cut electric cords.  All power tools must be grounded or double insulated.  Repair defective power tools and cords immediately or remove from the Kingdom Hall

- Check condition and proper operation of attachments for each tool

- Check for unusual noise during operation and repair or replace as needed

- Inspect for any debris attached to the tool and clean thoroughly

Needed Repairs or Additional Comments