TOILETS & CISTERNS					     M – 10

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

- Check for signs of leakage from water tank

- Check flush buttons work smoothly and return correctly

- Check and clean the inlet fill valve assembly

- Check lift lever mechanism of the flush valve

- Check water level and overflow. Adjust if necessary

- Check operation of isolation valve

- Check condition flexible connecting hose

- Check that the toilet bowl is properly fixed to the floor

- Check and ensure the toilet seat is fixed properly to the bowl

Needed Repairs or Additional Comments