REVERSE CYCLE SYSTEMS       			       M – 2

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | HIGH RISK JHA Required Qualified Person Manual (M-1) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

The following tasks apply to systems such ducted split, ceiling cassette, wall splits and package units.

- Thoroughly clean the condenser and evaporator coils with water. Take care to not get electrical circuit wet

- Straighten any bent or damaged coil fins using fin comb

- Ensure the system has the correct refrigerant charge

- Check and tighten electrical connections

- Flush the drains

- Check, clean and repair the rigid or flexible ductwork

- Check bolts and fixings are secure, including rubber supports. Replace as required

Reinstate supply and test system for correct overall operation.

Needed Repairs or Additional Comments