COLD WATER SYSTEM				              M – 7

INSPECTION: 6 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

VALVES

- Manually open and close shut off valves on either side of the meter. Check for leakage

- Manually open and close all other valves

- Check all valves for any sign of leakage.

PUMPS

- Check all circulating pumps are working correctly

- Check all isolating pumps are working correctly

- Check all pumps for any sign of leakage

MAIN SUPPLY WATER METER

- Check all circulating pumps are working correctly

FILTERS

- Check filter housing and pipe work for leakage

- Replace filter cartridge if required

Needed Repairs or Additional Comments