HOT WATER SYSTEM  			                    M – 8

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | JHA Required Qualified Person Manual (M-6) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform service on equipment according to manufacturer’s manual. Check the following general items during service:

ELECTRIC WATER HEATERS

- Check shut off and temperature pressure relief valves open and close properly

- Check electrical heating element for leakage

- Check water heaters for signs of leakage

WATER TEMPERING VALVE

- Check water temperature is set between 40 to 50 degrees Celsius

- Verify water temperature in bathroom taps

- Check valve for any signs of leakage

Needed Repairs or Additional Comments