BUILDING EXTERIOR                                      B – 1

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | JHA Required |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

EXTERIOR WALLS

- Inspect wall exterior for signs of deterioration

- Inspect general condition of bricks/masonry walls

EAVES/SOFFITS

- Inspect the general condition of eaves/soffits, ensuring boards are secure and there are no entry points present for animals or vermin

WINDOWS

- Inspect general condition of windows. Check for damage to screens or deterioration of seals

STAIRS & HANDRAILS

- Inspect any staircases and handrails for rust or damage. Ensure all fixings are secure

SIGNAGE

- Check all signs are securely fastened

- Check for signs of rust

- If sign is illuminated, check that lamps work

- Verify current meeting times are displayed

- Ensure sign is visible to onlookers

Needed Repairs or Additional Comments