SWITCHBOARD                  		  		       EL – 1

INSPECTION & SERVICE: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | HIGH RISK JHA Required Qualified Person Manual (EL-1) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform a thorough clean and service on all main, meter and distribution boards.

SWITCHBOARD INSPECTION

- Function test the on/off switch

- Confirm labelling by testing each circuit

- Confirm finger guards cover all points

METER BOX INSPECTION

- Function test the on/off switch and do not touch other switches

- Check for evidence of vermin, insects and birds. Clean as needed

- Proper clearance should be maintained in front of the panels to allow easy access

- Check that screws of the panel are not missing

- Check that the blank plates are in place

Needed Repairs or Additional Comments