EXTERIOR LIGHTING                                     EL – 6

INSPECTION & SERVICE: 3 MONTHS

| NOTE: |  |
| --- | --- |
|  | JHA Required |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Check all exterior lights at facility for correct operation.  Note any lights that do not function correctly.

- Clean photocells (if fitted) with glass cleaner and dry with a paper towel

- Check operation of Photoelectric (PE) cell / daylight switch by covering with test cap

- Check operation of timers. Adjust as required

- Replace defective bulbs using the same style and wattage bulb

Needed Repairs or Additional Comments