FIRE EXTINGUISHERS             			       E - 10

INSPECTION & SERVICE: 6 MONTHS

| NOTE: |  |
| --- | --- |
|  | Qualified Person Manual (E-1) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform the following prior to service being performed by a qualified fire practitioner:

- Clean extinguisher with microfibre cloth

- If fitted, check pressure gauge is in the green zone

- Check date of last pressure test stamped on cylinder. If pressure test was more than 5 years ago, replace extinguisher with new (same size, capacity and type)

INSPECTION / SERVICE

- Schedule routine maintenance to be completed by accredited technician

- Verify service tags are completed and in date

- File service records for compliance requirements

Needed Repairs or Additional Comments