EXHAUST FANS		                                 M – 6

INSPECTION: 6 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Perform service on equipment according to manufacturer’s manual. Check the following general items during service:

- Remove and clean grille

- Clean and inspect fan motor and blades as needed

- Re-instate all covers and guards to fans

- Perform a final operational test of all controls

Needed Repairs or Additional Comments