GENERAL PLUMBING					       M – 9

INSPECTION: 12 MONTHS

| NOTE: |  |
| --- | --- |
|  | Manual (C-2) |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

Inspect accessible interior plumbing system for leaks. Operate all service valves to ensure they are not closed, (usually located under sinks). Perform the following inspection tasks:

TAPS AND SINKS

- Test tap for correct operation

- Remove the filter from the tap outlet and clean out any debris (if applicable)

- Protect exterior tap from freezing by insulating exposed pipes (where applicable)

- Check that the tap assembly is tight in the sink

- Check condition of the flexible water hose connections to the tap

- Inspect for leaks. Replace O-rings as required

S/P TRAPS

- Remove the “U” of lower portion of the trap and remove all debris

- Clean inside pipes and reassemble

- Re-attach S/P trap

- Allow water to run to make sure there are no leaks

FLOOR DRAINS

- Remove and clean floor drain cover. If trap fitted, remove and clean any debris

- Pour water down floor drain to form a new water seal

Needed Repairs or Additional Comments