FURNITURE		        				        B – 7

INSPECTION & SERVICE: 6 MONTHS

| NOTE: |  |
| --- | --- |

Assigned:

Date Assigned:

Date Completed:

INSTRUCTIONS

CHAIRS & Upholstery

- Inspect frame structure. Tighten any loose screws or fixings

- Inspect upholstery for stains or damage. Repair or treat as required

- Examine overall condition. Arrange professional clean as required

- Inspect the arm rest, it should be fixed and without deterioration.

LECTERN & TABLES

- Inspect for loose screws or bolts and tighten as necessary

- Inspect surfaces for wear and deterioration

- Check that stand moves up and down freely

- Lubricate as necessary

Outdoor benches

- Check benches are secure and safe to use

- Tighten any loose bolts or fixings

- Inspect any timber for signs of rot and metal frames for rust

Needed Repairs or Additional Comments